## Parameter & Instrument List
Abbreviations | Name of parameter | Pollutant units | Instrument type
CO | Carbon monoxide | ppm | API T300
NEPH | Nephelometer (visibility) | 10-4 m-1 | Aurora 1000
NH3 | Ammonia | pphm | Serinus 44
NO/NO2/NOx | Oxides of Nitrogen | pphm | TEI 42i and APT T200
O3 | Ozone | pphm | EC 9810 and API T400
PM10 | Particles less than 10 micrometres in diameter | µg/m3 | Tapered Element Oscillating Micro-balance (TEOM) TEI 1405A
PM10 | Particles less than 10 micrometres in diameter | µg/m3 | Multi-channel EDT DustTrak - TSI 8543 (Rural NSW sites only)
PM2.5 | Particles less than 2.5 micrometres in diameter | µg/m3 | Beta Attenuation Method (BAM) TEI 5014i
PM2.5 | Particles less than 2.5 micrometres in diameter | µg/m3 | Multi-channel EDT DustTrak - TSI 8543 (Rural NSW sites only)
PRECIPITATION | Rainfall | mm | Rain Guage – RIMCO 7499-020
SO2 | Sulfur dioxide | pphm | TEI 43i and API T100
SOLAR | Solar radiation | W/m2 | Middleton pyranometer
TEMP | Temperature | °C | Vaisala HMP155
RH | Relative Humidity | % | Vaisala HMP155
TSP | Total Suspended Particles | µg/m3 | Single-channel DustTraks - TSI 8520 and handheld TSI 8532 (Rural NSW sites only)
WS | Wind speed | m/s | Met-One 50.5
WD | Wind direction | ° | Met-One 50.5
SD1 | Sigma theta | ° | Met-One 50.5

## Monitoring stations list
NSW air quality monitoring (AQMN) site | AQMN Region | Sub-region,where applicable | Site address | Latitude (South) | Longitude (East) | Altitude (ahd) | Commissioned | Status | Station type | Station Movement (m) | PM10 | PM2.5 | TSP | NO/NO2/NOx | SO2 | O3 | NEPH | CO | NH3 | WSP/WD/SD1 | TEMP/RH | SOLAR | PRECIPITATION
Upper Hunter
Bulga | Upper Hunter |  | 1893 Putty Rd | -32.6487 | 151.036 | 67 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü |  | ü
Camberwell | Upper Hunter |  | Dulwich Place and McInerneys Rd | -32.4723 | 151.0918 | 82 | 2011 | Active | Standard - Australian Standards Methods |  | ü | ü | [7 empty] | ü | ü |  | ü
Maison Dieu | Upper Hunter |  | Maison Dieu Rd | -32.525 | 151.0619 | 65 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Mount Thorley | Upper Hunter |  | 154 Broke Rd | -32.636 | 151.1281 | 74 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Aberdeen | Upper Hunter |  | Abercairney Terrace, Aberdeen | -32.1773 | 150.8842 | 177 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü |  | ü
Jerrys Plains | Upper Hunter |  | Coolmore Stud, Jerrys Plains Rd | -32.4768 | 150.8802 | 87 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Merriwa | Upper Hunter |  | Lot 3, Merriwa Scone Rd | -32.1258 | 150.4593 | 406 | 2012 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü |  | ü
Muswellbrook | Upper Hunter |  | Bowman Park | -32.2716 | 150.8859 | 145 | 2010 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü |  |  |  |  | ü | ü |  | ü
Muswellbrook NW | Upper Hunter |  | Cnr Wybong Rd and Kayuga Rd | -32.2532 | 150.8813 | 143 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Singleton | Upper Hunter |  | Civic Avenue | -32.5575 | 151.1769 | 42 | 2010 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü |  |  |  |  | ü | ü |  | ü
Singleton NW | Upper Hunter |  | Near Rixs Creek coal mine | -32.5298 | 151.1501 | 123 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Singleton South | Upper Hunter |  | Haggarty's Lane, Whittingham | -32.5869 | 151.209 | 39 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Warkworth | Upper Hunter |  | Warkworth, nr St Phillips Church | -32.574 | 151.0272 | 60 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü |  | ü
Wybong | Upper Hunter |  | St Marks Church, Ridgelands Rd | -32.195 | 150.6735 | 190 | 2011 | Active | Standard - Australian Standards Methods |  | ü | [8 empty] | ü | ü
Lower Hunter and Central Coast
Beresfield | Lower Hunter & Central Coast | Lower Hunter | Francis Greenway High School | -32.7968 | 151.661 | 14 | 1993 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü
Carrington | Lower Hunter & Central Coast | Newcastle Local | Hargrave St & Garrett St | -32.9097 | 151.7633 | 5 | 2014 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü |  |  |  |  | ü | ü |  | ü
Mayfield | Lower Hunter & Central Coast | Newcastle Local | Murray Dwyer Circuit | -32.8851 | 151.7284 | 5 | 2014 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü |  |  |  |  | ü | ü | ü
Newcastle | Lower Hunter & Central Coast | Lower Hunter | Athletics Field | -32.9312 | 151.7596 | 5 | 1992 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Stockton | Lower Hunter & Central Coast | Newcastle Local | Fullerton St park | -32.902 | 151.7843 | 5 | 2014 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü |  |  |  | ü | ü | ü
Wallsend | Lower Hunter & Central Coast | Lower Hunter | Swimming Pool | -32.8944 | 151.6702 | 8 | 1992 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü | ü
Wyong | Lower Hunter & Central Coast | Central Coast | Wyong racecourse | -33.279 | 151.4324 | 3 | 2012 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü |  | ü
Illawarra
Albion Park | Illawarra |  | Croom Rd | -34.5796 | 150.79 | 5 | 1997 | Decommissioned (2005) | Standard - Australian Standards Methods |  | ü |  |  | ü |  | ü | ü
Albion Park Rail | Illawarra |  | Aerodrome | -34.557 | 150.7895 | 5 | 1978 | Decommissioned (1997) | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü
Albion Park South | Illawarra |  | Terry Reserve | -34.5778 | 150.7824 | 13 | 2005 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü
Kembla Grange | Illawarra |  | Kembla Grange Racecourse | -34.4744 | 150.8192 | 5 | 1994 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü |  |  | ü | ü | ü
Port Kembla (1) | Illawarra |  | Blaxland Ave and Flagstaff Rd | -34.4796 | 150.8817 | 59 | 2002 | Decommissioned (2015) | Standard - Australian Standards Methods
Port Kembla (2) | Illawarra |  | Church & Kembla Sts | -34.4847 | 150.9039 | 1 |  | Decommissioned | Standard - Australian Standards Methods
Port Kembla (3) | Illawarra |  | Military St | -34.4829 | 150.905 | 1 |  | Decommissioned | Standard - Australian Standards Methods
Warrawong | Illawarra |  | Carlotta Cres | -34.4897 | 150.8922 | 9 |  | Decommissioned (2006) | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü
Wollongong | Illawarra |  | Gipps St | -34.4171 | 150.8873 | 15 | 1993 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü |  | ü
Roadside Monitoring
Bradfield Highway | Roadside | Sydney east | Between Bradfield Highway and Cahill Expressway | -33.8434 | 151.2114 | 36 | 2018 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  |  | ü
Research Monitoring
Katoomba | Research Monitoring | Blue Mountains | 20-22 Valley Rd, Katoomba NSW 2780 | -33.7103 | 150.2996 | 1045.9 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Wentworth Falls | Research Monitoring | Blue Mountains | Bodington Drive | -33.7328 | 150.3889 | 187 | 1998 | Decommissioned (1999) | Standard - Australian Standards Methods |  | ü |  |  | ü |  | ü | ü |  |  | ü | ü
Kurrajong Heights | Research Monitoring | Sydney north west | Bells Line of Road | -33.5211 | 150.6284 | 350 | 2000 | Decommissioned (2003) | Standard - Australian Standards Methods |  |  |  |  | ü | ü | ü |  |  |  | ü | ü
Liverpool SWAQS | Research Monitoring | Sydney south west | Liverpool Girl High School, Forbes Street, Liverpool NSW 2170 | -33.9189 | 150.9325 | 11.6 | 2019 | Decommissioned (2020) | Standard - Australian Standards Methods |  | ü | ü | ü | ü | ü | ü | ü |  | ü | ü
Cataract RFS | Research Monitoring | Illawarra | Cataract Scout Park, Baden-Powell drive Cataract | -34.2448 | 150.8235 | 56 | 2019 | Decommissioned (2020) | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Port Kembla Steelworks | Research Monitoring | Illawarra | 112 Flagstaff Road Port Kembla | -34.4796 | 150.8817 | 59 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Bushfire Emergency
Port Macquarie | Bushfire Emergency | Mid-north Coast | 7 Sherwood Road Port Macquarie | -31.4478 | 152.8765 | 72.6 | 2019 | Transitioned to long-term site; see Mid-north Coast region | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Coffs Harbour | Bushfire Emergency | Mid-north Coast | City Centre, Park off Duke St near Carralls Gully, Coffs Harbour NSW 2450 | -30.2983 | 153.1181 | 21 | 2019 | Transitioned to long-term site; see Mid-north Coast region | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü | ü |  | ü | ü
Coffs Harbour | Bushfire Emergency | North Coast | City Centre, Park off Duke St near Carralls Gully, Coffs Harbour NSW 2450 | -30.2983 | 153.1181 | 21 | 2019 | Decommissioned (2020) | Indicative |  | ü | ü | ü
Merimbula | Bushfire Emergency | South East LLS | Merimbula Airport, Arthur Kaine Drive, MERIMBULA NSW 2548 | -36.9078 | 149.8989 |  | 2019 | Transitioned to long-term site; see South East LLS region | Indicative |  | ü | ü | ü
Cooma | Bushfire Emergency | South East LLS | Snowy Hydro Discover Centre carpark, 1 Monaro Highway, COOMA NSW 2630 | -36.2226 | 149.1331 |  | 2019 | Transitioned to long-term site; see South East LLS region | Indicative |  | ü | ü | ü
Grafton | Bushfire Emergency | North Coast LLS | Grafton Primary Industries Institute | -29.6207 | 152.9633 |  | 2019 | Transitioned to long-term site; see North Coast LLS region | Indicative |  | ü | ü | ü
Lismore | Bushfire Emergency | North Coast | Wilson Park School, 230 Wyrallah Road, Lismore, NSW 2480 | -28.8321 | 153.2935 | 12 | 2019 | Standard site decommissioned (2020). Site transitioned to long-term indicative site; see North Coast LLS region | Standard - Australian Standards Methods |  | ü | ü
Taree | Bushfire Emergency | North Coast | Taree Airport | -31.8894 | 152.5086 | 24 | 2019 | Decommissioned (2020) | Indicative |  | ü | ü | ü
Ulladulla | Bushfire Emergency | South Coast | Light House Oval, Deering St Ulladulla | -35.3635 | 150.4828 | 15 | 2019 | Decommissioned (2020) | Indicative |  | ü | ü | ü
Batemans Bay | Bushfire Emergency | South Coast | CATALINA COUNTRY CLUB, 154 Beach Road BATEMANS BAY | -35.7234 | 150.1872 | 83 | 2019 | Decommissioned (2020) | Indicative |  | ü | ü | ü
Regional NSW
Albury | Rural and regional NSW | South west slopes | Jelbert Park | -36.0518 | 146.9398 | 182 | 2000 | Active | Standard - Australian Standards Methods | 250 | ü | ü | [7 empty] | ü | ü
Armidale | Rural and regional NSW | Northern Tablelands | Kirkwood Street | -30.5084 | 151.6617 | 982 | 2018 | Active | Standard - Australian Standards Methods |  | ü | ü |  |  |  |  | ü |  |  | ü | ü |  | ü
Bathurst | Rural and regional NSW | Central Tablelands | Sewage Treatment Plant | -33.4033 | 149.5733 | 625 | 2000 | Active | Standard - Australian Standards Methods |  | ü | ü | [7 empty] | ü | ü
Tamworth | Rural and regional NSW | North west slopes | Hyman Park | -31.1099 | 150.9154 | 405 | 2000 | Active | Standard - Australian Standards Methods | 200 | ü | ü | [7 empty] | ü | ü
Wagga Wagga | Rural and regional NSW | South west slopes | Morgan & Murray Sts | -35.1722 | 147.3764 | 181 | 2000 | Decommissioned (2011) | Standard - Australian Standards Methods |  | ü
Wagga Wagga North | Rural and regional NSW | South west slopes | Wagga Wagga racecourse | -35.1044 | 147.3603 | 178.6 | 2011 | Active | Standard - Australian Standards Methods |  | ü | ü | [7 empty] | ü | ü |  | ü
Narrabri | Rural and regional NSW | North west slopes | Narrabri Airport - Airport Rd | -30.3184 | 149.8294 | 239 | 2017 | Active | Standard - Australian Standards Methods |  | ü | ü | [7 empty] | ü | ü
Goulburn | Rural and regional NSW | Southern Tablelands | Leggett Park, Cnr of Howard Street and McDermott Street Goulburn NSW 2580 | -34.7345 | 149.7242 | 702 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  |  |  | ü | ü |  |  | ü | ü |  | ü
Gunnedah | Rural and regional NSW | North west slopes | Kitchener Park - Osric St | -30.9819 | 150.2607 | 272 | 2017 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü |  |  |  | ü | ü
Orange | Rural and regional NSW | Central Tablelands | Jaeger Reserve, 149 Hill Street | -33.2744 | 149.0944 | 871 | 2018 | Active | Standard - Australian Standards Methods |  | ü | ü |  |  |  |  | ü |  |  | ü | ü |  | ü
Port Macquarie | Rural and regional NSW | Mid-north Coast | 7 Sherwood Road Port Macquarie | -31.4478 | 152.8765 | 72.6 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Coffs Harbour | Rural and regional NSW | Mid-north Coast | City Centre, Park off Duke St near Carralls Gully, Coffs Harbour NSW 2450 | -30.2983 | 153.1181 | 21 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü | ü |  | ü | ü
Sydney
Bargo | Sydney | Sydney south west | Silica Rd | -34.3063 | 150.5806 | 365 | 1996 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü
Blacktown | Sydney | Sydney north west | Flushcombe Rd | -33.7799 | 150.9058 | 75 | 1992 | Decommissioned (2004) | Standard - Australian Standards Methods |  | ü |  |  | ü | ü | ü | ü
Bringelly | Sydney | Sydney south west | Ramsay Rd | -33.9177 | 150.7619 | 53 | 1992 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü | ü
Camden | Sydney | Sydney south west | Aerodrome | -34.0417 | 150.6901 | 73 | 2012 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü | ü |  | ü | ü
Campbelltown | Sydney | Sydney south west | Cronulla Cresent | -34.0561 | 150.8122 | 84 | 1976 | Decommissioned (2004) | Standard - Australian Standards Methods |  | ü |  |  | ü |  | ü
Campbelltown West | Sydney | Sydney south west | Campbelltown TAFE | -34.0667 | 150.7955 | 112 | 2012 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Chullora | Sydney | Sydney east | Southern Sydney TAFE - Worth St | -33.8916 | 151.0461 | 32 | 2002 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü | ü
Earlwood | Sydney | Sydney east | Beaman Park | -33.9162 | 151.1358 | 7 | 1978 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü |  |  | ü | ü
Lidcombe | Sydney | Sydney east | EPA Laboratories | -33.8842 | 151.0433 | 5 | 1974 | Decommissioned (2002) | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü
Lindfield | Sydney | Sydney east | Bradfield Rd | -33.7811 | 151.1501 | 60 | 1994 | Decommissioned (2019) | Standard - Australian Standards Methods |  | ü |  |  | ü | ü | ü | ü |  |  | ü | ü
Liverpool | Sydney | Sydney south west | Rose St | -33.9313 | 150.9073 | 22 | 1988 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü | ü |  | ü | ü
Macarthur | Sydney | Sydney south west | UWS Campbelltown Campus | -34.0709 | 150.7822 | 104 | 2004 | Decommissioned (2015) | Standard - Australian Standards Methods |  | ü | ü |  |  | ü | ü | ü | ü
Macquarie Park | Sydney | Sydney east | Macquarie University Sport Fields - Culloden Rd | -33.7653 | 151.1178 | 49 | 2017 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü | ü | ü
Oakdale | Sydney | Sydney south west | Ridge Rd | -34.0517 | 150.4982 | 457 | 1996 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü |  |  | ü | ü | ü | ü
Prospect | Sydney | Sydney north west | William Lawson Park | -33.7925 | 150.9142 | 64 | 2007 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü | ü
Randwick | Sydney | Sydney east | Randwick Barracks | -33.9318 | 151.2428 | 28 | 1995 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü
Richmond | Sydney | Sydney north west | University of Western Sydney | -33.6164 | 150.7473 | 21 | 1992 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü |  |  | ü | ü |  | ü
Rouse Hill | Sydney | Sydney north west | 130 Cudgegong Rd, Rouse Hill NSW 2155 | -33.6828 | 150.9037 | 72.6 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Rozelle | Sydney | Sydney east | Rozelle Hospital | -33.8644 | 151.1639 | 22 | 1970 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü | ü
St Marys | Sydney | Sydney north west | Mamre Rd | -33.7952 | 150.7668 | 29 | 1992 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü |  |  | ü | ü
Parramatta North | Sydney | Sydney north west | Cumberland Hospital - Fleet St | -33.7995 | 150.9978 | 16 | 2017 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü |  | ü | ü | ü |  | ü | ü
Cook and Phillip | Sydney | Sydney east | Cook and Philip Park, Sydney CBD | -33.8725 | 151.2133 | 26 | 2019 | Active | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü | ü |  | ü | ü
Sydney | Sydney | Sydney east | George & Market Sts | -33.8709 | 151.2071 |  |  | Decommissioned (2004) | Standard - Australian Standards Methods | [8 empty] | ü
Vineyard | Sydney | Sydney north west | Castle Hill STP | -33.6562 | 150.8477 | 35 | 1994 | Decommissioned (2015) | Standard - Australian Standards Methods |  | ü |  |  | ü | ü | ü | ü
Woolooware | Sydney | Sydney east | Woolooware Rd | -34.0427 | 151.1421 | 12 | 1982 | Decommissioned (2004) | Standard - Australian Standards Methods |  | ü | ü |  | ü | ü | ü | ü
Rural NSW
Cowra | Rural from "Rural and regional NSW" | Central Tablelands LLS | BoM airport | -33.8447 | 148.65 | 296 | 2007-11-13 09:30 | Active | Indicative |  |  |  | ü
Condobolin | Rural from "Rural and regional NSW" | Central West LLS | DPI research centre | -33.0665 | 147.228 | 193 | 2004-09-15 | Active | Indicative |  |  |  | ü
Dubbo | Rural from "Rural and regional NSW" | Central West LLS | BoM airport | -32.2195 | 148.578 | 281.6 | 2007-08-02 12:00 | Active | Indicative |  | ü | ü | ü
Parkes | Rural from "Rural and regional NSW" | Central West LLS | BoM airport | -33.1277 | 148.244 | 323.3 | 2007-11-15 13:00 | Active | Indicative |  | ü | ü | ü
Walpeup | Rural from "Rural and regional NSW" | Mallee CMA | BoM site | -35.1202 | 142.004 | 104.7 | 2011-09-23 | Active | Indicative |  | ü | ü | ü
Werrimull | Rural from "Rural and regional NSW" | Mallee CMA | Private property | -34.4684 | 141.573 | 77 | 2018-05-01 | Active | Indicative |  | ü | ü | ü
Deniliquin | Rural from "Rural and regional NSW" | Murray LLS | BoM airport | -35.5575 | 144.946 | 97.9 | 2007-09-27 | Active | Indicative |  |  |  | ü
Kyalite | Rural from "Rural and regional NSW" | Murray LLS | Private property | -35.0368 | 143.489 | 278.7 | 2007-10-05 12:00 | Active | Indicative |  | ü | ü | ü
Rand | Rural from "Rural and regional NSW" | Murray LLS | Private property | -35.6296 | 146.475 | 149.3 | 2010-12-23 | Active | Indicative |  |  |  | ü
Loddon Plains | Rural from "Rural and regional NSW" | North Central CMA | AG research station | -36.4538 | 144.319 | 111.1 | 2011-07-29 | Active | Indicative |  |  |  | ü
Wycheproof | Rural from "Rural and regional NSW" | North Central CMA | AG research station | -36.0971 | 143.355 | 111 | 2014-08-01 | Active | Indicative |  |  |  | ü
Gunnedah | Rural from "Rural and regional NSW" | North West LLS | Kitchener Park - Osric St | -30.9819 | 150.2607 | 272 | 2019 | Active | Indicative |  | ü | ü | ü
Gunnedah south east | Rural from "Rural and regional NSW" | North West LLS | OEH research centre | -31.0261 | 150.269 | 309.2 | 2003-10-10 | Decommissioned (2019) | Indicative |  | ü | ü | ü
Moree | Rural from "Rural and regional NSW" | North West LLS | BoM site | -29.4897 | 149.847 | 212.8 | 2008-09-29 | Active | Indicative |  | ü | ü | ü
Walgett | Rural from "Rural and regional NSW" | North West LLS | BoM airport | -30.0359 | 148.123 | 131.8 | 2008-09-29 | Active | Indicative |  | ü | ü | ü
Armidale | Rural from "Rural and regional NSW" | Northern Tableland LLS | Kirkwood Street | -30.5083 | 151.661 | 982 | 2018-07-26 | Decommissioned (2019) | Indicative |  | ü | ü | ü
Grafton | Rural from "Rural and regional NSW" | North Coast LLS | Grafton Primary Industries Institute | -29.6207 | 152.9633 | 35 | 2019 | Active | Indicative |  | ü | ü | ü
Lismore | Rural from "Rural and regional NSW" | North Coast LLS | Northern Rivers Aero Club | -28.8321 | 153.2935 | 15 | 2020 | Active | Indicative |  | ü | ü | ü
Merimbula | Rural from "Rural and regional NSW" | South East LLS | Merimbula Airport, Arthur Kaine Drive, MERIMBULA NSW 2548 | -36.9078 | 149.8989 | 6 | 2019 | Active | Indicative |  | ü | ü | ü
Cooma | Rural from "Rural and regional NSW" | South East LLS | Snowy Hydro Discover Centre carpark, 1 Monaro Highway, COOMA NSW 2630 | -36.2226 | 149.1331 | TBA | 2019 | Active | Indicative |  | ü | ü | ü
Griffith | Rural from "Rural and regional NSW" | Riverina LLS | BoM airport | -34.2487 | 146.07 | 131.5 | 2012-01-01 | Active | Indicative |  | ü | ü | ü
Hay | Rural from "Rural and regional NSW" | Riverina LLS | BoM site | -34.5348 | 144.829 | 89.2 | 2004-09-16 | Active | Indicative |  | ü | ü | ü
Junee | Rural from "Rural and regional NSW" | Riverina LLS | Private property | -34.8254 | 147.51 | 278.7 | 2010-02-04 | Active | Indicative |  |  |  | ü
Narrandera | Rural from "Rural and regional NSW" | Riverina LLS | BoM airport | -34.705 | 146.514 | 145 | 2012-09-01 | Active | Indicative |  | ü | ü | ü
Temora | Rural from "Rural and regional NSW" | Riverina LLS | BoM airport | -34.4278 | 147.512 | 279.2 | 2007-11-13 14:30 | Active | Indicative |  | ü | ü | ü
Wagga Wagga North | Rural from "Rural and regional NSW" | Riverina LLS | Wagga Wagga racecourse | -35.1032 | 147.36 | 178.6 | 2014-12-17 | Active | Indicative |  | ü | ü | ü
West Wyalong | Rural from "Rural and regional NSW" | Riverina LLS | BoM airport | -33.9384 | 147.196 | 253.9 | 2007-11-14 10:30 | Active | Indicative |  | ü | ü | ü
Moolawatana | Rural from "Rural and regional NSW" | SA Arid Lands | Private property | -29.9072 | 139.737 | 93.9 | 2008-07-17 | Active | Indicative |  |  |  | ü
Lameroo | Rural from "Rural and regional NSW" | SA Murray Darling Basin | BoM site | -35.3778 | 140.538 | 112 | 2012-02-09 | Active | Indicative |  |  |  | ü
Euston | Rural from "Rural and regional NSW" | Western LLS | Private property | -34.443 | 142.889 | 281.6 | 2005-10-24 11:15 | Active | Indicative |  | ü | ü | ü
Bourke | Rural from "Rural and regional NSW" | Western LLS | BoM site | -30.0362 | 145.952 | 109.7 | 2007-07-31 09:00 | Active | Indicative |  | ü | ü | ü
Broken Hill | Rural from "Rural and regional NSW" | Western LLS | BoM airport | -32.0012 | 141.469 | 284.5 | 2008-10-02 10:00 | Active | Indicative |  | ü | ü | ü
Buronga | Rural from "Rural and regional NSW" | Western LLS | OEH research centre | -34.1747 | 142.201 | 50.7 | 2003-04-04 | Active | Indicative |  | ü | ü | ü
Cobar | Rural from "Rural and regional NSW" | Western LLS | BoM site | -31.4837 | 145.829 | 260.4 | 2007-07-31 | Active | Indicative |  | ü | ü | ü
Hillston | Rural from "Rural and regional NSW" | Western LLS | BoM airport | -33.491 | 145.524 | 120.7 | 2007-11-14 15:00 | Active | Indicative |  | ü | ü | ü
Ivanhoe | Rural from "Rural and regional NSW" | Western LLS | Private property | -33.0548 | 144.154 | 83.6 | 2004-09-17 | Active | Indicative |  | ü | ü | ü
Lake Victoria | Rural from "Rural and regional NSW" | Western LLS | Private property | -34.0485 | 141.063 | 54.9 | 2004-12-23 14:00 | Active | Indicative |  | ü | ü | ü
Pooncarie | Rural from "Rural and regional NSW" | Western LLS | Private property | -33.6016 | 142.531 | 323.3 | 2004-10-15 13:00 | Active | Indicative |  |  |  | ü
Tibooburra | Rural from "Rural and regional NSW" | Western LLS | BoM airport | -29.4448 | 142.057 | 177.8 | 2004-10-17 | Active | Indicative |  | ü | ü | ü
White Cliffs | Rural from "Rural and regional NSW" | Western LLS | BoM airport | -30.8517 | 143.074 | 159.2 | 2008-10-01 | Active | Indicative |  | ü | ü | ü
Coombah | Rural from "Rural and regional NSW" | Western LLS | Private property | -32.9786 | 141.489 | 193 | 2004-10-14 16:00 | Active | Indicative |  | ü | ü | ü

## Site compliance
NSW air quality monitoring (AQMN) site | AQMN Region | NEPM compliant | Reason for non-compliance
Upper Hunter
Bulga | Upper Hunter | No | Non-NEPM site, industry funded
Camberwell | Upper Hunter | No | Non-NEPM site, industry funded
Maison Dieu | Upper Hunter | No | Non-NEPM site, industry funded
Mt Thorley | Upper Hunter | No | Non-NEPM site, industry funded
Aberdeen | Upper Hunter | No | Non-NEPM site, industry funded
Jerrys Plains | Upper Hunter | No | Non-NEPM site, industry funded
Merriwa | Upper Hunter | No | Non-NEPM site, industry funded
Muswellbrook | Upper Hunter | No | Non-NEPM site, industry funded
Muswellbrook NW | Upper Hunter | No | Non-NEPM site, industry funded
Singleton | Upper Hunter | No | Non-NEPM site, industry funded
Singleton NW | Upper Hunter | No | Non-NEPM site, industry funded
Singleton South | Upper Hunter | No | Non-NEPM site, industry funded
Warkworth | Upper Hunter | No | Non-NEPM site, industry funded
Wybong | Upper Hunter | No | Non-NEPM site, industry funded
Lower Hunter and Central Coast
Beresfield | Lower Hunter & Central Coast | Yes
Carrington | Lower Hunter & Central Coast | No | Non-NEPM site, industry funded
Mayfield | Lower Hunter & Central Coast | No | Non-NEPM site, industry funded
Newcastle | Lower Hunter & Central Coast | Yes
Stockton | Lower Hunter & Central Coast | No | Non-NEPM site, industry funded
Wallsend | Lower Hunter & Central Coast | Yes
Wyong | Lower Hunter & Central Coast | Yes
Illawarra
Albion Park South | Illawarra | Yes
Kembla Grange | Illawarra | Yes
Wollongong | Illawarra | Yes
Roadside Monitoring
Bradfield Highway | Roadside | No | Non-NEPM site, not greater than 50 metres from road
Research Monitoring
Katoomba | Research Monitoring | No | Non-NEPM site, short-term research station and is therefore neither a performance or trend site
Port Kembla Steelworks | Research Monitoring | No | Non-NEPM site, short-term research station and is therefore neither a performance or trend site
Bushfire Emergency
Port Macquarie | Bushfire Emergency | No | Non-NEPM site, formerly short-term emergency monitoring site. Looking for suitable location
Coffs Harbour | Bushfire Emergency | No | Non-NEPM site, formerly short-term emergency monitoring site. Looking for suitable location
Regional NSW
Albury | Rural and regional NSW | Yes
Armidale | Rural and regional NSW | Yes
Bathurst | Rural and regional NSW | Yes
Tamworth | Rural and regional NSW | Yes
Wagga Wagga North | Rural and regional NSW | Yes
Narrabri | Rural and regional NSW | Yes
Goulburn | Rural and regional NSW | Yes
Gunnedah | Rural and regional NSW | Yes
Orange | Rural and regional NSW | Yes
Sydney
Bargo | Sydney | Yes
Bringelly | Sydney | Yes
Camden | Sydney | Yes
Campbelltown West | Sydney | Yes
Chullora | Sydney | No | Clear sky angle is not ≥120°. Distance to nearby tree is not ≥ 10 metres
Earlwood | Sydney | No | Not greater than 50 metres from road.
Liverpool | Sydney | Yes
Macquarie Park | Sydney | Yes
Oakdale | Sydney | Yes
Prospect | Sydney | Yes
Randwick | Sydney | Yes
Richmond | Sydney | Yes
Rouse Hill | Sydney | Yes
Rozelle | Sydney | No | Clear sky angle is not ≥120°. Distance to nearby tree is not ≥ 10 metres
St Marys | Sydney | Yes
Parramatta North | Sydney | Yes
Cook and Phillip | Sydney | No | Non-NEPM site, not greater than 50 metres from road
Rural NSW
Cowra | Central Tablelands LLS | No | Non-NEPM site, Federal Reference Method not used
Condobolin | Central West LLS | No | Non-NEPM site, Federal Reference Method not used
Dubbo | Central West LLS | No | Non-NEPM site, Federal Reference Method not used
Parkes | Central West LLS | No | Non-NEPM site, Federal Reference Method not used
Walpeup | Mallee CMA | No | Non-NEPM site, Federal Reference Method not used
Werrimull | Mallee CMA | No | Non-NEPM site, Federal Reference Method not used
Deniliquin | Murray LLS | No | Non-NEPM site, Federal Reference Method not used
Kyalite | Murray LLS | No | Non-NEPM site, Federal Reference Method not used
Rand | Murray LLS | No | Non-NEPM site, Federal Reference Method not used
Loddon Plains | North Central CMA | No | Non-NEPM site, Federal Reference Method not used
Wycheproof | North Central CMA | No | Non-NEPM site, Federal Reference Method not used
Gunnedah | North West LLS | No | Non-NEPM site, Federal Reference Method not used
Moree | North West LLS | No | Non-NEPM site, Federal Reference Method not used
Walgett | North West LLS | No | Non-NEPM site, Federal Reference Method not used
Grafton | North Coast LLS | No | Non-NEPM site, Federal Reference Method not used
Lismore | North Coast LLS | No | Non-NEPM site, Federal Reference Method not used
Merimbula | South East LLS | No | Non-NEPM site, Federal Reference Method not used
Cooma | South East LLS | No | Non-NEPM site, Federal Reference Method not used
Griffith | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
Hay | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
Junee | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
Narrandera | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
Temora | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
Wagga Wagga North | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
West Wyalong | Riverina LLS | No | Non-NEPM site, Federal Reference Method not used
Moolawatana | SA Arid Lands | No | Non-NEPM site, Federal Reference Method not used
Lameroo | SA Murray Darling Basin | No | Non-NEPM site, Federal Reference Method not used
Euston | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Bourke | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Broken Hill | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Buronga | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Cobar | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Hillston | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Ivanhoe | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Lake Victoria | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Pooncarie | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Tibooburra | Western LLS | No | Non-NEPM site, Federal Reference Method not used
White Cliffs | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Coombah | Western LLS | No | Non-NEPM site, Federal Reference Method not used
Note on D66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check to see if this is a thing